## BALCONY
S.NO | BALCONY
1 | Flooring (Tiles): Are all the room corners in right angle?
2 | Flooring (Tiles): Are the Butt filling grooves uniform?
3 | Flooring (Tiles): Any colour & shade variation observed in floor tiles
4 | Flooring (Tiles): Hollowness or debonding observed in floor tiles after fixing
5 | Flooring (Tiles): Any cracks / damage / bends observed in floor tiles after fixing
6 | Flooring (Tiles): Tile joints of floor tile and skirting matching / uniform & no undulations at joints
7 | Flooring (Tiles): Are gaps sealing of floor tiles / between skirting & flooring tiles filled properly
8 | Flooring (Tiles): Any defects found in skirting
9 | Flooring: Any level differences observed in skirting
10 | Flooring (Tiles): Any defects found in uniformity/ straight line of joint
11 | Flooring (Tiles): Adequate slope provided in the flooring
12 | Flooring (Tiles): Any offsets observed in the flooring
13 | Flooring (Tiles): Are all cutouts finished and sealed satisfactorily
14 | Flooring (Tiles): Any offsets observed in the skirting
15 | Flooring (Tiles): Are all spacers removed after flooring work
16 | Flooring (Tiles): Any cut-pieces used at the end are of same sizes and uniformly laid
17 | Doors: Door frames, shutters are defect less without any bend, cracks, warpage or scratches
18 | Doors: Shutters are operating smoothly without any noise
19 | Doors: No gaps observed between shutter and frame member joints
20 | Doors: Any sideways movement in shutter after locking
21 | Doors: Any powder coating anodizing got damaged
22 | Doors: Door fittings are free from paint, dust and rust
23 | Doors: Any damages/cracks/scratch marks observed on glass
24 | Doors: Proper frame alignment found.
25 | Doors: Sealant materials applied to fill up the gaps between walls & door frame
26 | Doors: Any gaps observed in door frame joints
27 | Doors: Any wall damaged during fixing of doors
28 | Wall Finish: Any dampness observed on walls
29 | Wall Finish: Any dampness observed on ceiling
30 | Wall Finish: Shade of paint is uniform at all places
31 | Wall Finish: Any air bubbles/Scratches/peeling off observed in walls
32 | Wall Finish: Any cracks / damages observed in walls
33 | Wall Finish: Any air bubbles/Scratches/peeling off observed in ceiling
34 | Wall Finish: Any cracks / damages observed in ceiling
35 | Wall Finish: Surface finish of painted walls and ceiling uniform
36 | Wall Finish: Electrical cut outs in false ceiling properly sealed
37 | Wall Finish: Undulations in the wall / ceiling surface not observed
38 | Wall Finish: Corners and edges are sharp and finished satisfactorily
39 | Wall Finish: Any water leakage observed in balcony / corridor / open to sky ceilings
40 | Wall Finish: Uniformity in the level of horizontal offsets on wall
41 | Electrical Work: Any gap observed between switch plate & wall/tile surface
42 | Electrical Work: Are switches operating smoothly
43 | Electrical Work: Are the switches functioning?
44 | Electrical Work: All switch boards fixed in line and level
45 | Electrical Work: Any Damages/cracks/stains found on switch plates
46 | Handrails / MS grills: Balcony hand rails are perfectly in horizontal level from FFL
47 | Handrails / MS grills: Junctions of vertical and horizontal rails are finished properly
48 | Handrails / MS grills: C/C distance between vertical rails satisfactory
49 | Handrails / MS grills: Painting to hand railing / grills done
50 | Handrails / MS grills: Any Corrosion observed on vertical & horizontal sections
51 | Handrails / MS grills: Horizontal rail end caps are provided
52 | Handrails / MS grills: Are Caps provided on the fastener top
53 | Handrails / MS grills: Is Railing Alignment / verticality properly finished.
54 | Handrails / MS grills: Is Proper anchorage support observed.
55 | Handrails / MS grills: Railing height as per safety standards and norms (1.2m)

## BATHROOM
S.NO | BATHROOM
1 | Flooring (Tiles): Are all the room corners in right angle?
2 | Flooring (Tiles): Are the Butt filling grooves uniform?
3 | Flooring (Tiles): Any colour & shade variation observed in floor tiles
4 | Flooring (Tiles): Hollowness or debonding observed in floor tiles after fixing
5 | Flooring (Tiles): Any cracks / damage / bends observed in floor tiles after fixing
6 | Flooring (Tiles): Tile joints of floor tile and skirting matching / uniform & no undulations at joints
7 | Flooring (Tiles): Are gaps sealing of floor tiles / between skirting & flooring tiles filled properly
8 | Flooring (Tiles): Any gaps observed between door frame & flooring / skirting
9 | Flooring (Tiles): Any defects found in uniformity/ straight line of joint
10 | Flooring (Tiles): Adequate slope provided in the flooring
11 | Flooring (Tiles): Any offsets observed in the flooring
12 | Flooring (Tiles): Are all cutouts finished and sealed satisfactorily
13 | Wall Tiles: Any offsets observed in the wall tiles
14 | Flooring (Tiles): Are all spacers removed after flooring work
15 | Flooring (Tiles): Any cut-pieces used at the end are of same sizes and uniformly laid
16 | Marble/Granite Flooring: Consistency in colour
17 | Marble/Granite Flooring: Consistency in design pattern
18 | Marble/Granite Flooring: Any paint marks on marble flooring?
19 | Marble/Granite Flooring: Grinding and Polishing work completed
20 | Marble/Granite Flooring: Hollowness or debonding observed in marble/granite slabs after fixing
21 | Marble/Granite Flooring: Any cracks observed in marble / granite slabs
22 | Wall Tiles: Any Colour / shade variation observed in wall tiles
23 | Wall Tiles: Any defects found in uniformity/ straight line of joint
24 | Wall Tiles: Tiles fixed are not sounding hollow or debonding not observed in wall tiles
25 | Wall Tiles: Any cracks / damage / bends observed in wall tiles after fixing
26 | Wall Tiles: Are Cut outs properly finished in the tiles
27 | Wall Tiles: Groove between wall tiling & door frame is uniform
28 | Wall Tiles: Any variations observed in right angle of walls
29 | Wall Tiles: Windows / ventilators in toilet properly finished with wall tiles and corner angles provided to avoid sharp edges
30 | Wall Tiles: Is the toilet ledge wall granite top level and finishes satisfactory
31 | Wall Tiles: Is Grouting done satisfactorily
32 | Doors: Door frames, shutters are defect less without any bend, cracks, warpage or scratches
33 | Doors: Shutters are operating smoothly without any noise
34 | Doors: Shutter and frame in same line / plan after closing
35 | Doors: All types of door fittings, hinges screwed properly & operating smoothly
36 | Doors: Polishing & painting done on all sides including top and bottom of door shutter
37 | Doors: Sealant materials applied to fill up the gaps between walls & door frame
38 | Doors: Cover moulding patti to all door frames fixed with proper corner finishing
39 | Doors: Door fittings are free from paint, dust and rust
40 | Doors: Gap between door frame and shutter within tolerance limit & uniform
41 | Doors: Joints in lipping patti only at corners
42 | Doors: Magnetic / rubber door catcher provided to avoid banging of door and fixed properly
43 | Doors: Rubber gasket fixed properly /having proper corner finish.
44 | Doors: Any nails or sharp objects are protruding from the frame?
45 | Doors: Any damages/cracks/scratch marks observed on glass
46 | Doors: Proper frame alignment found.
47 | Doors: Door jamb gap maintained equally on both sides
48 | Doors: Any gaps observed in door frame joints
49 | Doors: Door bottom sweeps, gap between floor and door bottom is in tolerance
50 | Doors: Any wall damaged during fixing of doors
51 | Windows / Ventilator: Any windows frame & shutters bend / damaged?
52 | Windows / Ventilator: Windows shutters operating smooth & noise free
53 | Windows / Ventilator: All types of window fittings fixed properly & operating smoothly
54 | Windows / Ventilator: Window fittings are free from paint and rust
55 | Windows / Ventilator: Water drainage from window tracks satisfactory
56 | Windows / Ventilator: All gaps between frame are sealed with sealant from internal & external side
57 | Windows / Ventilator: Are wool piles / rubber gasket fixed properly to all required places with proper cornerfinish
58 | Windows / Ventilator: Fins shutter and frame in plumb
59 | Windows / Ventilator: No damage, cracks, hollowness observed in window sill stone after fixing
60 | Windows / Ventilator: Is sealant application uniform without any bulging
61 | Windows / Ventilator: Any wall damaged during fixing of window frames
62 | Windows / Ventilator: Screw fitting to frame satisfactory.
63 | Wall Finish: Any dampness observed on walls
64 | Wall Finish: Any dampness observed on ceiling
65 | Wall Finish: Shade of paint is uniform at all places
66 | Wall Finish: Any air bubbles/Scratches/peeling off observed in walls
67 | Wall Finish: Any cracks / damages observed in walls
68 | Wall Finish: Any air bubbles/Scratches/peeling off observed in ceiling
69 | Wall Finish: Any cracks / damages observed in ceiling
70 | Wall Finish: Surface finish of painted walls and ceiling uniform
71 | Wall Finish: Electrical cut outs in false ceiling properly sealed
72 | Wall Finish: Undulations in the wall / ceiling surface not observed
73 | Wall Finish: Corners and edges are sharp and finished satisfactorily
74 | Wall Finish: Uniformity in the level of horizontal offsets on wall
75 | Electrical Work: Any gap observed between switch plate & wall/tile surface
76 | Electrical Work: Are switches operating smoothly
77 | Electrical Work: Are the switches functioning?
78 | Electrical Work: All switch boards fixed in line and level
79 | Electrical Work: Any Damages/cracks/stains found on switch plates
80 | Electrical Work: Is Provision for exhaust fan provided
81 | Electrical Work: Is Provision for Geyser available
82 | Plumbing: Is Nahani Trap fixed at required location
83 | Plumbing: Are All water outlets getting adequate water pressure
84 | Plumbing: Adequate water temp through hot water tap
85 | Plumbing: Is the functioning of control valve satisfactory
86 | Plumbing: Adequate slope provided to drain pipes
87 | Sanitary ware: Functioning of CP and sanitary fittings is satisfactory
88 | Sanitary ware: Is Fixing of CP and sanitary fittings satisfactory
89 | Sanitary ware: Any leakage is observed from CP and sanitary fittings etc.
90 | Sanitary ware: All CP and sanitary fittings are free from cracks
91 | Sanitary ware: Separate stop cock is provided for each unit
92 | Sanitary ware: Ball valve are operated through window

## BEDROOM
S.NO | BEDROOM
1 | Flooring: Are all the room corners in right angle?
2 | Flooring: Are the Butt filling grooves uniform?
3 | Flooring: Any colour & shade variation observed in floor tiles
4 | Flooring: Hollowness or debonding observed in floor tiles after fixing
5 | Flooring: Any cracks / damage / bends observed in floor tiles after fixing
6 | Flooring: Tile joints of floor tile and skirting matching / uniform & no undulations at joints
7 | Flooring: Are gaps sealing of floor tiles / between skirting & flooring tiles filled properly
8 | Flooring: Any defects found in skirting
9 | Flooring: Any level differences observed in skirting
10 | Flooring: Any gaps observed in skirting
11 | Flooring: Any gaps observed between door frame & flooring / skirting
12 | Flooring: Any defects found in uniformity/ straight line of joint
13 | Flooring: Any offsets observed in the flooring
14 | Flooring: Any offsets observed in the skirting
15 | Flooring: Are all spacers removed after flooring work
16 | Flooring: Any cut-pieces used at the end are of same sizes and uniformly laid
17 | Wooden Flooring: Are all glue marks removed
18 | Wooden Flooring: Any hollowness observed below fixed laminates when checked by tamping with wooden mallet
19 | Wooden Flooring: Are there any stains or scratches observed in the laminates?
20 | Wooden Flooring: Is the wooden flooring area appearing in perfect horizontal plane and level when observed visually
21 | Wooden Flooring: Are all the joints between panels uniform?
22 | Wooden Flooring: Polish, Sheen and Texture on flooring not disturbed
23 | Wooden Flooring: Any gaps observed between door frame & wooden flooring / skirting
24 | Wooden Flooring: Does the flooring have any swelling or warping or cracks
25 | Wooden Flooring: Any damages observed on skirting
26 | Marble/Granite Flooring: Consistency in colour
27 | Marble/Granite Flooring: Consistency in design pattern
28 | Marble/Granite Flooring: Any paint marks observed on marble flooring
29 | Marble/Granite Flooring: Grinding and Polishing work completed
30 | Marble/Granite Flooring: Hollowness or debonding observed in marble/granite slabs after fixing
31 | Marble/Granite Flooring: Any cracks observed in marble / granite slabs
32 | Doors: Door frames, shutters are defect less without any bend, cracks, warpage or scratches
33 | Doors: Shutters are operating smoothly without any noise
34 | Doors: Shutter and frame in same line / plan after closing
35 | Doors: All types of door fittings, hinges screwed properly & operating smoothly
36 | Doors: Sealant materials applied to fill up the gaps between walls & door frame
37 | Doors: Polishing & painting done on all sides including top and bottom of door shutter
38 | Doors: Cover moulding patti to all door frames fixed with proper corner finishing
39 | Doors: Door fittings are free from paint, dust and rust
40 | Doors: Gap between door frame and shutter within tolerance limit & uniform
41 | Doors: Joints in lipping patti only at corners
42 | Doors: Magnetic / rubber door catcher provided to avoid banging of door and fixed properly
43 | Doors: Rubber gasket fixed properly /having proper corner finish.
44 | Doors: Any nails or sharp objects are protruding from the frame?
45 | Doors: Any damages/cracks/scratch marks observed on glass
46 | Doors: Proper frame alignment found.
47 | Doors: Door jamb gap maintained equally on both sides
48 | Doors: Any gaps observed in door frame joints
49 | Doors: Door bottom sweeps, gap between floor and door bottom is in tolerance
50 | Doors: Any wall damaged during fixing of doors
51 | Windows: Any windows frame & shutters bend / damaged?
52 | Windows: Windows shutters operating smooth & noise free
53 | Windows: All types of window fittings fixed properly & operating smoothly
54 | Windows: Window fittings are free from paint and rust
55 | Windows: Water drainage from window tracks satisfactory
56 | Windows: All gaps between frame are sealed with sealant from internal & external side
57 | Issue Type Bedroom
58 | Windows: Any leakage / dampness observed after sealed with sealant
59 | Windows: Any powder coating anodizing got damaged
60 | Windows: Glass cleaned and properly checked for stains / paint marks
61 | Windows: Glass cleaned and properly checked for scratches
62 | Windows: Glass cleaned and properly checked for cracks
63 | Windows: Any gaps observed between shutter and frame member joints
64 | Windows: Shutters fixed properly and can not be easily removed from frame
65 | Windows: Any sideways movement in shutter after locking
66 | Windows: Fly mesh provided for windows to avoid entry of insects
67 | Windows: Are there any damages found in fly mesh or fixing issues
68 | Windows: Are wool piles / rubber gasket fixed properly to all required places with proper corner finish
69 | Windows: Fins shutter and frame in plumb
70 | Windows: No damage, cracks, hollowness observed in window sill stone after fixing
71 | Windows: Is sealant application uniform without any bulging
72 | Windows: Any wall damaged during fixing of window frames
73 | Windows: Screw fitting to frame satisfactory.
74 | Wall Finish: Any dampness observed on walls
75 | Wall Finish: Any dampness observed on ceiling
76 | Wall Finish: Shade of paint is uniform at all places
77 | Wall Finish: Any air bubbles/Scratches/peeling off observed in walls
78 | Wall Finish: Any cracks / damages observed in walls
79 | Wall Finish: Any air bubbles/Scratches/peeling off observed in ceiling
80 | Wall Finish: Any cracks / damages observed in ceiling
81 | Wall Finish: Is the surface finish of painted walls uniform
82 | Wall Finish: Is the surface finish of painted ceiling uniform
83 | Wall Finish: Electrical cut outs in false ceiling properly sealed
84 | Wall Finish: Any Undulations in the wall surface observed
85 | Wall Finish: Any Undulations in the ceiling surface observed
86 | Wall Finish: Corners and edges are sharp and finished satisfactorily
87 | Wall Finish: Uniformity in the level of horizontal offsets on wall
88 | Electrical D.B. Work: Is the Voltage between 220 - 240 V?
89 | Electrical Work: Are fan regulators working smoothly in all directions
90 | Electrical Work: Any gap observed between switch plate & wall/tile surface
91 | Electrical Work: Are switches operating smoothly
92 | Electrical Work: Are the switches functioning?
93 | Electrical Work: All switch boards fixed in line and level
94 | Electrical Work: Any stains, damages found on switch plates
95 | Electrical Work: Is earthing done for all electrical points

## COMMON AREA
S.NO | Common area
1 | Electrical Work: Are fan regulators working smoothly in all directions
2 | Flooring (Tiles):Are all the room corners in right angle?
3 | Flooring (Tiles): Are the Butt filling grooves uniform?
4 | Flooring (Tiles): Any colour & shade variation observed in floor tiles
5 | Flooring (Tiles): Hollowness or debonding observed in floor tiles after fixing
6 | Flooring (Tiles): Any cracks / damage / bends observed in floor tiles after fixing
7 | Flooring (Tiles): -Tile joints of floor tile and skirting matching / uniform & no undulations at joints
8 | Flooring (Tiles): Are gaps sealing of floor tiles / between skirting & flooring tiles filled properly
9 | Flooring (Tiles): Any defects found in skirting
10 | Flooring (Tiles): Any level differences observed in skirting
11 | Flooring (Tiles): Any gaps observed in skirting
12 | Flooring (Tiles): Any gaps observed between door frame & flooring / skirting
13 | Flooring (Tiles): Any defects found in uniformity/ straight line of joint
14 | Flooring (Tiles): Any offsets observed in the flooring
15 | Flooring (Tiles): Any offsets observed in the skirting
16 | Flooring (Tiles): Are all spacers removed after flooring work
17 | Flooring: Any cut-pieces used at the end are of same sizes and uniformly laid
18 | Wooden Flooring: Are all glue marks removed
19 | Wooden Flooring: Any hollowness observed below fixed laminates when checked by tamping with wooden mallet
20 | Wooden Flooring: Are there any stains or scratches observed in the laminates?
21 | Wooden Flooring: Is the wooden flooring area appearing in perfect horizontal plane and level when observed visually
22 | Wooden Flooring: Are all the joints between panels uniform?
23 | Wooden Flooring: Polish, Sheen and Texture on flooring not disturbed
24 | Wooden Flooring: Any gaps observed between door frame & wooden flooring / skirting
25 | Wooden Flooring: Does the flooring have any swelling or warping or cracks
26 | Wooden Flooring: Any damages observed on skirting
27 | Marble/Granite Flooring: Consistency in colour
28 | Marble/Granite Flooring: Consistency in design pattern
29 | Marble/Granite Flooring: Any paint marks on marble flooring?
30 | Marble/Granite Flooring: Grinding and Polishing work completed
31 | Marble/Granite Flooring: Hollowness or debonding observed in marble/granite slabs after fixing
32 | Marble/Granite Flooring: Any cracks observed in marble / granite slabs
33 | Doors: Door frames, shutters are defect less without any bend, cracks, warpage or scratches
34 | Doors: Shutters are operating smoothly without any noise
35 | Doors: Shutter and frame in same line / plan after closing
36 | Doors: All types of door fittings, hinges screwed properly & operating smoothly
37 | Doors: Polishing & painting done on all sides including top and bottom of door shutter
38 | Doors: Sealant materials applied to fill up the gaps between walls & door frame
39 | Doors: Cover moulding patti to all door frames fixed with proper corner finishing
40 | Doors: Door fittings are free from paint, dust and rust
41 | Doors: Gap between door frame and shutter within tolerance limit & uniform
42 | Doors: Joints in lipping patti only at corners
43 | Doors: Magnetic / rubber door catcher provided to avoid banging of door and fixed properly
44 | Doors: Rubber gasket fixed properly /having proper corner finish
45 | Doors: Any nails or sharp objects are protruding from the frame?
46 | Doors: Any damages/cracks/scratch marks observed on glass
47 | Doors: Proper frame alignment found.
48 | Doors: Door jamb gap maintained equally on both sides
49 | Doors: Any gaps observed in door frame joints
50 | Doors: Door bottom sweeps, gap between floor and door bottom is in tolerance
51 | Doors: Any wall damaged during fixing of doors
52 | Windows: Any windows frame & shutters bend / damaged?
53 | Windows: Windows shutters operating smooth & noise free
54 | Windows: All types of window fittings fixed properly & operating smoothly
55 | Windows: Window fittings are free from paint and rust
56 | Windows: Water drainage from window tracks satisfactory
57 | Windows: All gaps between frame are sealed with sealant from internal & external side
58 | Windows: Any leakage / dampness observed after sealed with sealant .
59 | Windows: Any powder coating anodizing got damaged
60 | Windows: Glass cleaned and properly checked for stains / paint marks
61 | Windows: Glass cleaned and properly checked for scratches
62 | Windows: Glass cleaned and properly checked for cracks
63 | Windows: Any gaps observed between shutter and frame member joints
64 | Windows: Shutters fixed properly and can not be easily removed from frame
65 | Windows: Any sideways movement in shutter after locking
66 | Windows: Fly mesh provided for windows to avoid entry of insects
67 | Windows: Are there any damages found in fly mesh or fixing issues
68 | Windows: Are wool piles / rubber gasket fixed properly to all required places with proper corner finish
69 | Windows: Fins shutter and frame in plumb
70 | Windows: No damage, cracks, hollowness observed in window sill stone after fixing
71 | Windows: Is sealant application uniform without any bulging
72 | Windows: Any wall damaged during fixing of window frames
73 | Windows: Screw fitting to frame satisfactory.
74 | Wall Finish: Any dampness observed on walls
75 | Wall Finish: Any dampness observed on ceiling
76 | Wall Finish: Shade of paint is uniform at all places
77 | Wall Finish: Any air bubbles/Scratches/peeling off observed in walls
78 | Wall Finish: Any cracks / damages observed in walls
79 | Wall Finish: Any air bubbles/Scratches/peeling off observed in ceiling
80 | Wall Finish: Any cracks / damages observed in ceiling
81 | Wall Finish: Is the surface finish of painted walls uniform
82 | Wall Finish: Is the surface finish of painted ceiling uniform
83 | Wall Finish: Electrical cut outs in false ceiling properly sealed
84 | Wall Finish: Any Undulations in the wall surface observed
85 | Wall Finish: Any Undulations in the ceiling surface observed
86 | Wall Finish: Corners and edges are sharp and finished satisfactorily
87 | Wall Finish: Uniformity in the level of horizontal offsets on wall
88 | Electrical Work: Any gap observed between switch plate & wall/tile surface
89 | Electrical Work: Are switches operating smoothly
90 | Electrical Work: Are the switches functioning?
91 | Electrical Work: All switch boards fixed in line and level
92 | Electrical Work: Any Damages/cracks/stains found on switch plates
93 | Electrical D.B. Work: Circuit diagram provided inside DB cover
94 | Electrical D.B. Work: ELCB / RCCB installed 30 mAH capacity
95 | Electrical D.B. Work: ELCB / RCCB MCB fitted & functioning
96 | Electrical D.B. Work: Is earthing done for all electrical points
97 | Electrical D.B. Work: Is the Voltage between 220 - 240 V?

## EXTERNAL
S.NO | EXTERNAL AREA
1 | Modular Kitchen & Kitchen Platform: Is the functioning of the modular furniture doors satisfactory
2 | Doors: Any wall damaged during fixing of doors
3 | Doors: Door bottom sweeps, gap between floor and door bottom is in tolerance
4 | Doors: Any gaps observed in door frame joints
5 | Doors: Door jamb gap maintained equally on both sides
6 | Doors: Proper frame alignment found.
7 | Doors: Any damages/cracks/scratch marks observed on glass
8 | Doors: Any nails or sharp objects are protruding from the frame?
9 | Doors: Rubber gasket fixed properly /having proper corner finish.
10 | Doors: Magnetic / rubber door catcher provided to avoid banging of door and fixed properly
11 | Doors: Joints in lipping patti only at corners
12 | Doors: Gap between door frame and shutter within tolerance limit & uniform
13 | Doors: Door fittings are free from paint, dust and rust
14 | Doors: Cover moulding patti to all door frames fixed with proper corner finishing
15 | Doors: Sealant materials applied to fill up the gaps between walls & door frame
16 | Doors: Polishing & painting done on all sides including top and bottom of door shutter
17 | Doors: All types of door fittings, hinges screwed properly & operating smoothly
18 | Doors: Shutter and frame in same line / plan after closing
19 | Doors: Shutters are operating smoothly without any noise
20 | Doors: Door frames, shutters are defect less without any bend, cracks, warpage or scratches
21 | Flooring (Tiles): Are all the room corners in right angle?
22 | Floor Tiles: Are the Butt filling grooves uniform?
23 | Flooring (Tiles): Any colour & shade variation observed in floor tiles
24 | Floor Tiles: Hollowness or debonding observed in floor tiles after fixing
25 | Flooring (Tiles): Any cracks / damage / bends observed in floor tiles after fixing
26 | Flooring (Tiles): Tile joints of floor tile and skirting matching / uniform & no undulations at joints
27 | Flooring (Tiles): Are gaps sealing of floor tiles / between skirting & flooring tiles filled properly
28 | Flooring (Tiles): Any defects found in skirting
29 | Flooring: Any level differences observed in skirting
30 | Flooring: Any gaps observed in skirting
31 | Flooring: Any gaps observed between door frame & flooring / skirting
32 | Flooring (Tiles): Any defects found in uniformity/ straight line of joint
33 | Flooring (Tiles): Adequate slope provided in the flooring
34 | Flooring (Tiles): Any offsets observed in the flooring
35 | Flooring (Tiles): Are all cutouts finished and sealed satisfactorily
36 | Flooring (Tiles): Any offsets observed in the skirting
37 | Flooring (Tiles): Are all spacers removed after flooring work
38 | Flooring (Tiles): Any cut-pieces used at the end are of same sizes and uniformly laid
39 | Wall Tiles: Any Colour / shade variation observed in wall tiles
40 | Wall Tiles: Any defects found in uniformity/ straight line of joint
41 | Wall Tiles: Tiles fixed are not sounding hollow or debonding not observed in wall tiles
42 | Wall Tiles: Any cracks / damage / bends observed in wall tiles after fixing
43 | Wall Tiles: Are Cut outs properly finished in the tiles
44 | Wall Tiles: Groove between wall tiling & door frame is uniform
45 | Wall Tiles: Any variations observed in right angle of walls
46 | Wall Tiles: Windows / ventilators in kitchen properly finished with wall tiles and corner angles provided to avoid sharp edges
47 | Wall Tiles: Is Grouting done satisfactorily
48 | Windows: Any windows frame & shutters bend / damaged?
49 | Windows: Windows shutters operating smooth & noise free
50 | Windows: All types of window fittings fixed properly & operating smoothly
51 | Windows: Window fittings are free from paint and rust
52 | Windows: Water drainage from window tracks satisfactory
53 | Windows: All gaps between frame are sealed with sealant from internal & external side
54 | Windows: Any leakage / dampness observed after sealed with sealant .
55 | Windows: Any powder coating anodizing got damaged
56 | Windows: Glass cleaned and properly checked for stains / paint marks
57 | Windows: Glass cleaned and properly checked for scratches
58 | Windows: Glass cleaned and properly checked for cracks Major
59 | Windows: Shutters fixed properly and can not be easily removed from frame Major
60 | Windows: Any sideways movement in shutter after locking Major
61 | Windows: Fly mesh provided for windows to avoid entry of insects Minor
62 | Windows: Are there any damages found in fly mesh or fixing issues Minor
63 | Windows: Are wool piles / rubber gasket fixed properly to all required places with proper corner finish Minor
64 | Windows: Fins shutter and frame in plumb Minor
65 | Kitchen Issue Type
66 | Windows: No damage, cracks, hollowness observed in window sill stone after fixing Minor
67 | Windows: Is sealant application uniform without any bulging Cosmetic
68 | Windows: Any wall damaged during fixing of window frames Major
69 | Windows: Screw fitting to frame satisfactory. Minor
70 | Wall Finish:Any dampness observed on walls Major
71 | Wall Finish: Any dampness observed on ceiling Major
72 | Wall Finish: Painting / False ceiling: Shade of paint is uniform at all places Cosmetic
73 | Wall Finish: Any air bubbles/Scratches/peeling off observed in walls Major
74 | Wall Finish: Any cracks / damages observed in walls Major
75 | Wall Finish: Any air bubbles/Scratches/peeling off observed in ceiling Major
76 | Wall Finish: Any cracks / damages observed in ceiling Major
77 | Wall Finish: Painting / False ceiling: Surface finish of painted walls and ceiling uniform Cosmetic
78 | Wall Finish: Painting / False ceiling: Electrical cut outs in false ceiling properly sealed Major
79 | Wall Finish: Painting / False ceiling: Undulations in the wall / ceiling surface not observed Minor
80 | Wall Finish: Painting / False ceiling: Corners and edges are sharp and finished satisfactorily Minor
81 | Wall Finish: Painting / False ceiling: Uniformity in the level of horizontal offsets on wall Cosmetic
82 | Electrical Work: Any gap observed between switch plate & wall/tile surface Minor
83 | Electrical Work: Are switches operating smoothly Major
84 | Electrical Work: Are the switches functioning? Major
85 | Electrical Work: All switch boards fixed in line and level Cosmetic
86 | Electrical Work: Any Damages/cracks/stains found on switch plates Major
87 | Electrical Work: Is Provision for exhaust fan provided Major
88 | Modular Kitchen & Kitchen Platform: Any damages found on the modular / pre-fitted furniture Major
89 | Modular Kitchen & Kitchen Platform: Is the functioning of the modular furniture drawers satisfactory Major
90 | Modular Kitchen & Kitchen Platform: Any cracks found in granite stone Major
91 | Modular Kitchen & Kitchen Platform: Is Vertical granite above platform is polished both sides or visual sides Minor
92 | Modular Kitchen & Kitchen Platform: Any Leakage below the platform observed Major
93 | Modular Kitchen & Kitchen Platform: Are the kitchen steel sink gaps from above filled with sealant ? Major
94 | Modular Kitchen & Kitchen Platform: Are the kitchen steel sink gaps from beneath filled with mortar ? Major
95 | Modular Kitchen & Kitchen Platform: Is adequate space provided for gas cylinder Minor
96 | Modular Kitchen & Kitchen Platform: Any hollow sound observed in Stone frame Minor
97 | Modular Kitchen & Kitchen Platform: Height of kitchen platform satisfactory Minor
98 | Modular Kitchen & Kitchen Platform: Any Size variation observed on kitchen platform at both ends. Major
99 | Modular Kitchen & Kitchen Platform: Adequate slope provided to the top of kitchen platform for draining water. Major
100 | Modular Kitchen & Kitchen Platform: Anchorage of vertical supports provided in wall and floor satisfactory Major
101 | Modular Kitchen & Kitchen Platform: Are the exposed edges are chamfered ? Major
102 | Modular Kitchen & Kitchen Platform: Gas pipe provision provided and finished satisfactorily Major